JUMPSTART

HJS   1000-1224

HYDRAULICALLY-DRIVEN

### VEHICLE   JUMP STARTER

BY

1000 Amp

@

12 Volt

1000 AMP

@

24VDC

WATT

120/240 V

12 Volt

24 Volt

DC

120 / 240

AC

| # QUALITY FEATURES |  |  |  |  |
| --- | --- | --- | --- | --- |
| No Load Brushes |  | Jumpstarter and Generator Combo |  |  |
| Maintenance Free Design |  | Over Load Protected |  |  |
| #### SPECIFICATIONS |  |  |  |  |
| AC Volts | ##### 120V or 120/240 V |  | Volts DC | 12 and 24 Volt |
| AC Watts | 6000W |  | Amps DC | 1000 @ 12 and 24 Volt |
| Speed | 3600 RPM |  | Hydr.Flow | 24 GPM min |
| Weight | 136 Lbs |  | Hydr.Pressure | 2400 PSI |
| Dimensions | 12W x 16H x 32L |  | Controllable Flow | ###### 24 to 45 GPM |

FERNDALE, NY 12734

(845)-292-0800
http://www.geteck.com