HYDRO-MAX HMP-13T

HYDRAULICALLY-DRIVEN

### 3 Phase AC GENERATOR

# BY

120 /
208 V
60 Hz

13  kva

3 Phase

\

| # QUALITY FEATURES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Transformer regulated |  | Optional Pressure Compensating Flow Regulator |  |  |
| Maintenance Free Design |  | AXIAL Piston Motor 17 cc |  |  |
| #### SPECIFICATIONS |  |  |  |  |
| Flow = | ##### 17 GPM |  | Volts = | 120 and 208 Volt |
| Pressure = | 2000 PSI |  | Amps = | 36 A @208 Volt |
| Speed = | 3600 RPM |  | Watts = | 13 kva Continuous |
| Weight = | 143 Lbs |  | Power Factor = | .8 |
| Dimensions = | 8” W * 14” H * 27” L |  | Temperature Rating = | 105 C |

FERNDALE, NY 12734

(845)-292-0800
http://www.getec.com

geteck.com