HYDRO-MAX HMP-13T

HYDRAULICALLY-DRIVEN

### 3 Phase AC GENERATOR

# BY

\

| QUALITY FEATURES |
| --- |
| Transformer regulated | Optional Pressure Compensating Flow Regulator |
| Maintenance Free Design | AXIAL Piston Motor 17 cc |
| SPECIFICATIONS |
| Flow = | 17 GPM | Volts = | 120 and 208 Volt |
| Pressure = | 2000 PSI | Amps = | 36 A @208 Volt |
| Speed = | 3600 RPM | Watts = | 13 kva Continuous |
| Weight = | 143 Lbs | Power Factor = | .8 |
| Dimensions = | 8” W * 14” H * 27” L | Temperature Rating = | 105 C |

# Text boxes

120 /
208 V
60 Hz

13  kva

3 Phase

(845)-292-0800
http://www.getec.com

geteck.com

FERNDALE, NY 12734