POWERALL®  

HYDRAULICALLY-DRIVEN

BY  [image: image17.jpg]



[image: image1.jpg]


[image: image2.jpg]



\

	QUALITY FEATURES

	
	

	[image: image3.png]


  Output monitoring
	[image: image4.png]


  Includes Pressure Compensating Flow Regulator

	[image: image5.png]


  Maintenance Free Design
	[image: image6.png]


  Lifetime Guaranteed Alignment

	
	

	SPECIFICATIONS

	
	

	[image: image7.png]


  Flow
      =
	32 GPM
	[image: image8.png]


  Volts

   =
	120 – 240 - 208

	[image: image9.png]


  Pressure
      =
	2400 PSI
	[image: image10.png]


  Power

   =
	12 KVA @ 3 PH

	[image: image11.png]


  Speed
      =
	3600 RPM
	[image: image12.png]


  Power

   =
	10 KW @ 1PH

	[image: image13.png]


  Weight
      =
	255 Lbs
	[image: image14.png]


  Power Factor
   =
	1.0

	[image: image15.png]


  Dimensions
      =
	22” W * 17” H * 29” L
	[image: image16.png]


  Temperature Rating   =
	105 C






400 DC AMP of Welding





800 Amp Jumpstarting





10 000 Watt  of1 Ph  AC Power





12 000 Watt of 3 PH AC Power





12-24-36 and 48 V Batt. Charger





You can do all this at the same time





(845)-292-0800�http://www.getec.com





FERNDALE, NY 12734








